## Slide 1: Hyosung GDMS
B&R Korea

## Slide 2: Introduction
Contents
1
Communication Configuration
2
B & R Hardware Configuration
3
B & R Software Structure

## Slide 3: HyoSung GDMS
Modbus RTU, TCP
Gas Detector <-> PLC (Master)
PLC (Slave) <-> Gateway
GDMS
Gas Detector
B&R PLC
Schneider
Gateway
Upper HMI
DCS
Modbus RTU 485
Master
Modbus TCP
Slave
Modbus
to
61850
Network Configuration

## Slide 4: HyoSung GDMS
POE (Power Over Ethernet)
Power is supplied to the Ethernet cable (RJ45, UTP)
B&R PLC
X20CP1586
FT50
21’’
POE
ETH
ETH

## Slide 5: HyoSung GDMS
Software Structure
Modbus RTU
#1 Volume
Number of Module : 22EA
Number of Channel : 12EA
#2 How can get data?
When Modbus bEvent is TRUE,
They can receive data(Temp, Press).

## Slide 6: HyoSung GDMS
B&R PLC

## Slide 7: Perfection in Automation